Epilepsy is one of the most common neurological disease with over 65 million individuals being affected worldwide. Secondary epilepsy or symptomatic epilepsy is caused by injuries to the brain including trauma and other physiological damage due to disease. Today, around 40% of brain injury patients in coma experience seizures that go untreated. When anti-seizure medication is not provided, there is the risk of increased morbidity, prolonged stay, poor outcome and increased long term socioeconomic burden. As such, this project aims to develop a low-computational-cost seizure detection algorithm that will be incorporated in a point-of-care device that will be worn with minimal patient preparation.

The algorithm extracts both time- and frequency-domain characteristics of the scalp EEG (electroencephalogram) recordings. The power spectral density (PSD) of the recorded signals for different EEG frequency bands are computed during inter-ictal (i.e. the period with no seizure-like activity, a.k.a the baseline), ictal (i.e., the period labeled as a seizure activity), and pre-ictal (i.e. the period immediately before a seizure onset) states. The variations of PSD in different bands are used as indicators for state classification and seizure detection.

The efficacy of the algorithm is evaluated using an offline pre-recorded scalp EEG database (CHB-MIT) that is labeled by an epileptologist. The dataset includes ??? hours of recordings from ??? patients, and contains a total of ??? seizure occurrences.