Abstract

Brain neuro-electrical monitoring using scalp electroencephalogram (EEG) recording is a noninvasive way of determining various brain states and detecting events such as an epilepsy seizure. ObtainingAcquiring high quality neural signals with an amplitude of tens of µV is essential but challenging due to the existence of different noise noise sources such as environment noise, powerline interference, and created by motion artifacts. ,  as it becomes difficult to determine if the retrieved signal is accurate. Obtaining high quality signals is essential but challenging due to noise created by motion artifacts, as it becomes difficult to determine if the retrieved signal is accurate. The clinically-accepted wet-electrode systems use electrolytic gels or pastes to achieve a better contact, and consequently, higher recording quality compared to dry-electrode systems, but need to be cleaned and washed after every use and might cause patient discomfort. They also typically rely on benchtop equipment for signal acquisition (amplification, filtering, digitization, etc.)

This research aims to develop an 8-channel flexible headband-like dry electrode system. Each channel includes an active electrode (a low-noise high-gain differential amplification stage followed by a 12-bit ADC) implemented immediately on the back of dry conductive skin-contact plates. Each channel also contains a force sensor for motion detection, and an active shielding module to suppress interference. The entire system will be implemented on a flexible substrate, weigh under 50 grams, and require no additional conductive gels or pastes for operation. The combination of the above will realize a portable system, convenient for both patient and clinician use, and capable of recording EEG signals with clinical-level quality while suppressing environment noise, interference, and motion artifacts. Such a device can decrease wait times in hospitals due to its fast setup, while improving areas of personalized and tele-healthcare.

Title

An 8-Channel Flexible Dry Active Electrode System for Neural Monitoring and Motion Artifact Detection